Municipal Water Conservation Plan

For the City of Brewster

#### TABLE OF CONTENTS

##### INTRODUCTION 	3

LONG TERM WATER USE EFFICIENCY	3

Water Use Conservation Goals	3

Water Conservation Practices	4

Education 	4

Management	4

Regulation	6

DROUGHT RESPONSE	7

Stage 1:  Water Watch	7

Stage 2:  Water Warning	8

Stage 3:  Water Emergency	9

##### PLAN REVISION, MONITORING AND EVALUATION	10

INTRODUCTION

The primary objectives of the Water Conservation Plan for the City of Brewster are to develop long-term water conservation plans (Long-Term Water Use Efficiency Section) and short-term water emergency plans (Drought Response Section) to assure the City customers of an adequate water supply to meet their needs.  The efficient use of water also has the beneficial effect of limiting or postponing water distribution system expansion and thus limiting or postponing the resultant increases in costs, in addition to conserving the limited water resources of the State of Kansas.

The City of Brewster has undertaken a number of steps to ensure a dependable water supply for our customers. The water supply for our City is obtained from three water wells. These wells were drilled in 1929 and another in 1974 and source water from the Ogallala Aquifer. Municipal water well 1 was rebuilt with a new pump in 2000 and fitted with a foot valve and municipal water well #4 was reconditioned with a new pump and pipe in 2001. All three wells are fitted for liquid chlorination treatment. Water wells 2 & 4 have alternate power sources for pumping due to an extended time power outage of electrical power. Treated water storage facilities consist of one 50,000 gallon elevated tank. Our City water supply and distribution system have ample capacity to meet current customer demands and future projected demands for several years, except during drought periods. The City of Brewster believes that our Municipal Water Conservation Plan represents an additional major step in ensuring our customers of a dependable water supply in future years.

LONG-TERM WATER USE EFFICIENCY

###### Water Use Conservation Goals

Our city water use state required reports are always one year behind but we do carry current use numbers on a monthly basis. The City of Brewster used 197 gallons per person per day (GPCD) in 2015.  This GPCD figure included:

Water sold to residential/commercial customers;

Water distributed for free public services (parks, cemeteries, swimming pools etc.); and

Water lost by leaks in the water distribution system.

However, the GPCD figure does not include municipally supplied water for industries that use over 200,000 gallons per year.  According to Figure 1, shown in the Public-Supply Water Use in Kansas, 2015, our City is located in Region 2.  From this publication it was determined that our City GPCD water use was 197, which was 1 percent below the regional average of 199 GPCD among cities in Region 2 during 2015.  The City desires to set a water use conservation goal for usage not to exceed 228 GPCD based on the regional average of the last five years (2011-2015).  Our City anticipates not exceeding this goal by carrying out the specific actions that are outlined in our plan.

###### Water Conservation Practices

This subsection of the plan summarizes the current education, management and regulation efforts that relate to the long-term conservation of water in the City.  Specific practices that will be undertaken to conserve water are listed and a target date to begin each practice is also shown.

Education

The City water bills show the total gallons of water used during the billing period and the amount of the bill.  Water conservation tips are not normally provided with the water bills.  The City currently has not provided information on water conservation to the local news media on a regular basis and has not encouraged the Board of Education and teachers to become involved in water conservation presentations in schools.

The City has chosen the following conservation practices and target dates for the Education Component of the Long-Term Water Use Efficiency Section of our Water Conservation Plan.

| Education Conservation Practices to be Taken | Target Date |
| --- | --- |
| 1. Water bills will show the amount of water used in gallons and the cost of the water. | Implemented |
| 2. Public involvement and awareness. | We have information on conservation practices but it is not promoted as such. We have done meetings for the public on issues regarding our water supplies and safety. |

Management

The City of Brewster has water meters on all water supplies and water pumped to the distribution system.  Any new supply will have an individual meter on each source of supply.  These meters are read monthly.

Water meters were installed for all residential/commercial customers by 1978; however, the amount of water provided free of charge to the city government buildings and grounds is metered but not charged. Customer meters are scheduled for an accuracy check and possible repair or replacement upon receiving a request to do so from the customer or in the event of a meter error or meter reading mistake or found by the City of Brewster personnel.

The City of Brewster reads each customer’s water meter and mails a monthly water bill to each customer during April until October (some business meters are read monthly). Customer meters are packed during the months of November through March to prevent freezing. Customer water meters are generally read approximately the 2nd week of the month; however, the meter reader sometimes deviates from the scheduled time period.

Water leaks from the City public water distribution system are repaired when customers or City employees report significant leaks from the water mains or leaks are located by City Personnel.  Water pressure is not checked unless customers complain that their water pressure is too low.

The City of Brewster has and continues to monitor a nitrate level contamination that at peak times exceeds the maximum contaminant level (MCL) approved by the 1986 Safe Drinking Water Act. We have 6 municipal monitoring wells and many other private monitoring wells throughout the city. The Kansas Department of Health and Environment has been involved in possible remediation and correction actions on where the contamination has been documented and sources identified (2010 Mr. Bob Bennie KDHE staff).

The water rate structure for the City residents was passed on February 12th, 2013, Ordinance 313. The minimum monthly water bill is $10.00 for residential customers, which allows each customer to use up to 2,000 gallons of water each month. Water use in excess of 2,000 gallons is charged $1.00 per 1,000 gallons. For customers outside the city limits the charge shall be a minimum of $20.00 for the first 2,000 gallons and $2.00 minimum per 1,000 gallons thereafter. On January 14, 2014 the bulk water rates at the bulk water dock shall be set at $3.00 per 1,000 gallons effective February 1, 2014. Bulk water through the fire hydrants shall be $7.00 per 1,000 gallons. The sewer rate for all customers is $3.00 for one month.

The City of Brewster realizes that much greater emphasis must be placed on obtaining accurate measurement of water use at our source and at customer meters and that a water use records system must be developed that can be used to more effectively and efficiently manage the City public water distribution system.  For that reason, the City of Brewster has chosen the following conservation practices and target dates for the Management component of the Long-Term Water Use Efficiency Section of our Water Conservation Plan.

| Management Conservation Practices to be Taken | Target Date |
| --- | --- |
| 1. All source water will have meters installed and the meters will be repaired or replaced within two weeks when malfunctions occur. | Implemented |
| 2. Meters for source water will be tested for accuracy at least once every three years. Each meter will be repaired or replaced if its test measurements are not within industry standards (such as AWWA standards). | Implemented with assistance of the Kansas Rural Water Association |
| 3. Meters will be installed at all residential service connections and at all other service connections whose annual water use may exceed 300,000 gallons, including separate meters for municipally operated irrigation systems which irrigate more than one acre of turf. | Implemented |
| 4. All meters for source water will be read at least on a monthly basis and meters at individual service connections will be read at least once every two months. | Master meters read monthly and service meters read monthly from April thru October, then meters are packed and winter averages are calculated. |
| 5. A reading will be taken at each source water meter at the same time that meters for individual service connections are read. | Implemented |
| 6. A water utility will implement a water management review, which will result in a specified change in water management practices or implementation of a leak detection and repair program or plan, whenever the amount of unsold water (amount of water provided free for public service, used for treatment purposes, water loss, etc.) exceeds 20 percent of the total source water for a four month time period. | Implemented |

Regulation

The City of Brewster does not have any water conservation regulations in effect at the present time.  Because of our ability to supply water during normal periods, regulatory controls on water use are included only in the Drought Response section of this plan and water drought/emergency ordinance where they constitute the primary means for conserving water during a supply shortage.

Brewster adopted the Uniform plumbing code as a part of our Municipal code, but has not felt the need to incorporate mandatory use of water conservation units in the plumbing code.  The enforcement of any regulations to require use of any water conservation plumbing measures would be very difficult.  Most new homes and/or remodeling projects do include the use of water conservation toilets and faucets.

| Regulation Actions to be Taken | Target Date |
| --- | --- |
| Violations and penalties of restricted use may be enforced according to the City Code Manual adopted in 1995. | Implemented |

DROUGHT RESPONSE

The City of Brewster addresses its short-term water shortage problems through a series of stages based on conditions of supply and demand with accompanying triggers, goals and actions.  Each stage is more stringent in water use than the previous stage since water supply conditions are more deteriorated.  The City Manager is authorized by ordinance to implement the appropriate conservation measures.

###### Stage 1:  Water Watch

Goals

The goals of this stage are to heighten awareness of the public on water conditions and to maintain the integrity of the water supply system.

Triggers

This stage is triggered by any one of the following conditions:

- The City’s storage has fallen below 85 percent capacity, and will not recover;

- Groundwater levels have fallen 5 feet below the normal seasonal level;

- Demand for one day is in excess of 300,000 gallons per day;

Education Actions

- The City will make occasional news releases to the local media describing present conditions and indicating the water supply outlook for the upcoming season.

- Previous months summaries of precipitation, temperature, water levels and storage will be made public at the beginning of each month.

- Water-saving tips will be included in billings to water utility customers.

Management Actions

- The City wells will be cleaned and flushed to maintain them at their most efficient condition.

- Leaks will be repaired within 48 hours of detection if at all possible.

- The City will monitor its use of water and will curtail activities such as hydrant flushing and street cleaning.

Regulation Actions

The public will be asked to curtail some outdoor water use and to make efficient use of indoor water, i.e. wash full loads, take short showers, don’t let faucets run, etc.

###### Stage 2:  Water Warning

Goals

The goals of this stage are to reduce peak demands by 20 percent and to reduce overall weekly consumption by 10 percent.

Triggers

This stage is triggered by any one of the following conditions:

- The City’s storage has fallen below 70 percent capacity, and will not recover;

- Treatment plant operations are at 80 percent capacity or more for three consecutive days;

- Pumping lowers water level to within 10 feet of the top of the well screens;

- Groundwater levels have fallen 10 feet below the normal seasonal level.

Education Actions

- The City will make weekly news releases to the local media describing present conditions and indicating the water supply outlook for the upcoming week.

- Previous week summaries of precipitation, temperature, water levels and storage will be made public each week.

- Water conservation articles will be provided to the local newspaper.

- Water-saving tips will be included in billings to water utility customers.

Management Actions

- The City water supplies will be monitored daily.

- Leaks will be repaired within 24 hours of detection.

- Pumpage at wells will be reduced to decrease drawdown and to maintain water levels over well screens.

- The City will curtail its water usage, including operation of fountains, watering of City grounds and washing of vehicles.

- Reserve supplies, such as standby well fields or lakes, will be prepared for use.

- Intakes will be adapted to operate with low flows.

- The City will contact the Chief Engineer of the Kansas Department of Agriculture, Division of Water Resources for permission to require private well owners to comply with the City’s drought response regulations as authorized under K.S.A. 82a-733(i).

Regulation Actions

These regulation actions apply to City residents (including private domestic well users, if authority is delegated by the Chief Engineer under K.S.A. 82a-733(i)).

- An odd/even lawn watering system will be imposed on City residents. Residents with odd-numbered addresses will water on odd days; even addresses will water on even days.

- Outdoor water use, including lawn watering and car washing will be restricted to before 10:00 am and after 9:00 pm.

- Refilling of swimming pools will be allowed one day a week after sunset.

- Outdoor watering will be restricted to use of a hand-held hose or bucket only.

- Excess water use charges for usage of water over the amount used in the winter will be considered.

- Waste of water will be prohibited and fines shall be imposed as necessary.

###### Stage 3:  Water Emergency

Goals

The goals of this stage are to reduce peak demands by 50 percent and to reduce overall weekly consumption by 25 percent.

Triggers:

This stage is triggered by any one of the following conditions:

- The City’s storage has fallen below 50 percent capacity;

- Treatment plant operations are at 90 percent capacity or more for three consecutive days;

- Pumping lowers water level to within 5 feet of the top of the well screens;

- Groundwater levels have fallen 15 feet below the normal seasonal level;

- Demand for one day is in excess of 375,000 gallons per day.

- Emergency conditions related to repairs or water quality.

Education Actions

- The City will make daily news releases to the local media describing present conditions and indicating the water supply outlook for the next day.

- Previous days summaries of precipitation, temperature, water levels and storage will be made public each day.

- The City will hold public meetings to discuss the emergency, the status of the City water supply and further actions, which need to be taken.

Management Actions

- The City water supplies will be monitored daily.

- Leaks will be repaired within 24 hours of detection.

- Pumpage at wells will be reduced to decrease drawdown and to maintain water levels over well screens.

- The City will seek additional emergency supplies from other users, the state or the federal government.

Regulation Actions

These regulation actions apply to City residents (including private domestic well users, if authority is delegated by the Chief Engineer under K.S.A. 82a-733(i).

- Outdoor water use will be banned.

- Waste of water will be prohibited.

PLAN REVISION, MONITORING & EVALUATION

The City of Brewster will establish a monthly management practice of reviewing monthly totals for water production, residential/commercial sales, water provided free-of-charge, and “unaccounted for water”.  Problems noted during the monthly review will be solved as soon as possible.

The City of Brewster Municipal Water Conservation Plan will be reviewed during the month of April each year and on a more frequent basis during drought or other water shortage conditions.  If the water conservation GPCD goals for the previous year are not met, then the City will review the data collected from the previous year in relationship to the status and effectiveness of the conservation practices that are outlined in our plan and will provide a status report to the DWR which will also include any additional water conservation practices that may need to be taken in order for the city to achieve and maintain its water use conservation GPCD goals.

DATE APPROVED			Mayor signature		Superintendent signature

| 1-09-2018 |  |  |
| --- | --- | --- |

# Text boxes

# Municipal Water

# Conservation Plan

# For The

# City of

# Brewster